Stapes Pistons and Ossicular chain prostheses and MRI Safety

www.mrisafety.com

Commonly used Stapes Prostheses/Pistons

Nitinol and fluoroplastic

Safe to 3T MRI

Safe for MRI to 1.5T

Platinum

Commonly Used Ossicular Chain Prostheses

Kurz Medical

Grace Medical

## Imaging at 7 Tesla or Less

Non-clinical testing has demonstrated that patients with these specific Grace Medical ossicular implants can undergo MRI safely, immediately after implantation under the following conditions:

- Static magnetic field of 7-Tesla or less

- Maximum spatial gradient magnetic field of 2,000-Gauss/cm or less.

- MR system reported, whole-body-averaged specific absorption rate (SAR) of 4 –W/kg for 15 minutes of scanning (i.e., per pulse sequence).